## Data Dictionary
Entity | Field | Definition | Type | Requirement | Notes | KB Source IDs
Equipment | equipment_id | Unique internal identifier for an asset. | String | Required | Do not use serial number as the only identifier. | D01; D02; D04; D05; D06; D07; D08; D09
Equipment | equipment_type | Controlled equipment category. | Enum | Required | Transformer, Circuit Breaker, Isolator, CT, PT/CVT, Surge Arrester, Busbar, Battery Bank, Protection Relay, Earthing System, Switchgear. | D01; D02; D04; D05; D06; D07; D08; D09
Equipment | manufacturer | Equipment manufacturer. | String | If available | Source from nameplate/asset record; not an inferred value. | D01; D02; D04; D05; D06; D07; D08; D09
Equipment | model | Manufacturer model/type. | String | If available | Use nameplate or official asset record. | D01; D02; D04; D05; D06; D07; D08; D09
Equipment | serial_number | Manufacturer serial number. | String | If available | Exact transcription where available. | D01; D02; D04; D05; D06; D07; D08; D09
Equipment | location | Substation/bay/panel/location reference. | String | Required | Use controlled location hierarchy where possible. | D01; D02; D04; D05; D06; D07; D08; D09
Equipment | installation_date | Installation/commissioning date. | Date | If available | Source from asset register/commissioning record. | D01; D02; D04; D05; D06; D07; D08; D09
Equipment | rated_parameters | Relevant rated characteristics. | JSON/String | If available | Store source and units; do not infer missing ratings. | D01; D02; D04; D05; D06; D07; D08; D09
Maintenance | maintenance_id | Unique maintenance event identifier. | String | Required | Generated by system. | D02; D04; D05; D06; D07; D08; D09
Maintenance | equipment_id | Asset receiving maintenance. | String | Required | Foreign key to Equipment. | D02; D04; D05; D06; D07; D08; D09
Maintenance | maintenance_type | Routine/preventive/predictive/breakdown/emergency etc. | Enum | Required | Controlled vocabulary; source terminology may vary. | D02; D04; D05; D06; D07; D08; D09
Maintenance | scheduled_date | Planned maintenance date. | Date | If scheduled | From maintenance plan. | D02; D04; D05; D06; D07; D08; D09
Maintenance | performed_date | Actual maintenance date. | Date | Required after completion | From work record. | D02; D04; D05; D06; D07; D08; D09
Maintenance | observation | Technician/engineer observation. | Text | Required | Keep observation separate from diagnosis. | D02; D04; D05; D06; D07; D08; D09
Maintenance | measurement | Measurement/test result with unit and method. | Structured | If performed | Store value, unit, method, instrument/test ID, and source criterion where applicable. | D02; D04; D05; D06; D07; D08; D09
Maintenance | criterion_reference | Document/section defining comparison criterion. | String | If comparison made | Critical for confidence-gated RAG. | D02; D04; D05; D06; D07; D08; D09
Maintenance | action | Action taken. | Text | Required after action | Cleaning, adjustment, replacement, test, escalation, etc.; must reflect actual record. | D02; D04; D05; D06; D07; D08; D09
Maintenance | engineer | Responsible/performing person. | String | If permitted | Use organization identity/access controls. | D02; D04; D05; D06; D07; D08; D09
Maintenance | status | Workflow state. | Enum | Required | Planned, In Progress, Awaiting Verification, Verified, Closed, Escalated. | D02; D04; D05; D06; D07; D08; D09
Maintenance | evidence | Linked photos, test reports, documents or readings. | Array/links | If available | Evidence should be traceable and timestamped. | D02; D04; D05; D06; D07; D08; D09
Issue | issue_id | Unique issue identifier. | String | Required | Generated by system. | D03; D04; D06; D08; D09
Issue | equipment_id | Asset associated with issue. | String | Required | Foreign key to Equipment. | D03; D04; D06; D08; D09
Issue | symptom | Observed symptom, not an unsupported diagnosis. | Text | Required | Example: visible oil staining near flange. | D03; D04; D06; D08; D09
Issue | evidence | Evidence supporting the observation. | Structured | Required | Photo/test/report reference. | D03; D04; D06; D08; D09
Issue | priority | Operational priority assigned by authorized process. | Enum | If assigned | Do not let the LLM invent priority. | D03; D04; D06; D08; D09
Issue | status | Issue workflow state. | Enum | Required | Open, Under Review, Action Planned, Resolved, Verified, Escalated. | D03; D04; D06; D08; D09
Issue | resolution | Verified resolution/action. | Text | After resolution | Separate proposed action from confirmed resolution. | D03; D04; D06; D08; D09
Issue | resolution_evidence | Evidence that resolution occurred. | Structured | After resolution | Test report/photo/work order reference. | D03; D04; D06; D08; D09
Document | document_id | Stable identifier for maintenance source. | String | Required | Used for RAG citations. | D01-D09
Document | version | Document version/revision. | String | If available | Important for conflict/version control. | D01-D09
Document | effective_date | Date document becomes applicable. | Date | If available | Do not confuse with upload date. | D01-D09
Document | authority | Source authority classification. | Enum | Required | Regulator, Utility, Manufacturer, Training/Research, Other. | D01-D09
Document | scope | Equipment/site/application scope. | Text | Required | Used for retrieval and applicability gating. | D01-D09
RAG Evidence | chunk_id | Unique retrievable text chunk identifier. | String | Required | Store document/page/section linkage. | D01-D09
RAG Evidence | document_id | Source document for chunk. | String | Required | Foreign key to Document. | D01-D09
RAG Evidence | page | Page number in source document. | Integer | If available | Use PDF page plus printed page if different. | D01-D09
RAG Evidence | section | Source heading/section. | String | If available | Improves citation quality. | D01-D09
RAG Evidence | retrieval_score | Retriever similarity/relevance score. | Float | At runtime | Model-specific; not itself a truth score. | D01-D09
RAG Evidence | evidence_sufficiency | Whether retrieved evidence is sufficient for the question. | Enum | At runtime | Sufficient, Insufficient, Ambiguous, Conflicting. | D01-D09
Maintenance | source_document_id | ID of the document supporting the maintenance information or criterion. | string | Recommended | For D09, use D09 and preserve the chunk/page reference. | D02; D04; D05; D06; D07; D08; D09
Maintenance | source_chunk_id | Knowledge-base chunk supporting the maintenance information. | string | Recommended | Example: D09-C0012. | D02; D04; D05; D06; D07; D08; D09
Maintenance | source_page | PDF page or page range supporting the information. | string | Recommended | Example: pp. 36-37. Do not invent page numbers. | D02; D04; D05; D06; D07; D08; D09
Maintenance | maintenance_frequency | Frequency stated by the applicable source for the specific maintenance item. | string | Optional | Never assume a universal interval; use NOT VERIFIED when unsupported. | D02; D04; D05; D06; D07; D08; D09
Evidence | evidence_type | Type of evidence: observation, measurement, test result, document excerpt, photograph, etc. | string | Recommended | Supports the confidence-gated RAG and human verification workflow. | D01-D09